Table 2-4Summary of trace and major metals analyzed from sediment samples and corresponding methods.  (All concentrations reported on a dry weight basis in µg/g, unless designated otherwise.)

| Element | Technique | EPA SW-846 Sample Preparation Methoda | EPA SW-846 Instrument Methoda | EPA-CLP Instrument Methodb |
| --- | --- | --- | --- | --- |
| Ag | GFAA | 3050 | NA | 272.2 |
| As | GFAA | 3050 | 7060 | 206.2 |
| Se | GFAA | 3050 | 7740 | 270.2 |
| Pb | GFAA | 3050 | 7421 | 239.2 |
| Tl | GFAA | 3050 | 7841 | 279.2 |
| Alc | ICAP | 3050 | 6010 | 200.7 |
| Be | ICAP | 3050 | 6010 | 200.7 |
| Cd | ICAP/GFAA | 3050 | 6010/7131 | 200.7/213.2 |
| Cr | ICAP | 3050 | 6010 | 200.7 |
| Cu | ICAP | 3050 | 6010 | 200.7 |
| Ni | ICAP | 3050 | 6010 | 200.7 |
| Sb | ICAP/GFAA | 3050 | 6010/7041 | 20.7/204.2 |
| Sn | ICAP/GFAA | 3050 | 6010/NA | 200.7/NA |
| V | ICAP | 3050 | 6010 | 200.7 |
| Zn | ICAP | 3050 | 6010 | 200.7 |
| Fec | ICAP | 3050 | 6010 | 200.7 |
| Mn | ICAP | 3050 | 6010 | 200.7 |
| Hg | CVAA | 7471 | 7471 | 245.5 |

aEPA (1986)

bEPA (1991)

cReported in % dry weight

GFAA = Graphite Furnace Atomic Absorption Spectrophotometry

ICAP = Inductively Coupled Plasma Atomic Absorption Spectrophotometry

CVAA = Cold Vapor Atomic Absorption Spectrophotometry